SHIRE OF GOOMALLING

BUILDING APPLICATION CHECKLIST for Class 1A Housing

Requirements for a Complete Application for a new house or extensions to an existing house.

Providing the information below constitutes a complete building permit application to enable lodgement with the Permit Authority for assessment and processing______

- The form BA2 “Application for a Building permit – Uncertified” has been completed and signed by ALL owners_____					Y	N

- A Pro-Forma Statement about Planning has to be completed  -  Planning Application  -  Download application at http://www.goomalling.wa.gov.au___Y	N

A Pro-Forma Statement about Adverse Effect on Other Land OR provide a BA20 form for neighbours consent to the effect OR a Court Order		Y

- Provide an Energy Assessment and lighting calculations from a qualified Assessor.   http://members.absa.net.au/imispublic/findassessor.aspx          Y

- Building Contractor to provide copy of Home Indemnity Insurance if construction is more than $20,000 in value______ ____Does this apply ?           	Y	N

- Payment of the Building Permit Fee is attached or provided         Cash or Card___    Staff can calculate when making your submission		Y

- Payment of the Building Services Levy is attached or provided    Cash or Card           Staff can calculate when making you submission			Y

- Payment or evidence of payment of the Building Construction Levy is provided  Applies if construction is more than $20,000 in value___________	Y	N

- If applicable, provide a Septic Tank Application together with the payment  _ Download application at http://www.goomalling.wa.gov.au			Y	N

- Provide a  Structural Sufficiency Certificate signed by a practising structural engineer.   Download form at  http://www.goomalling.wa.gov.au		Y

Minimum Requirements for Building plans and Specifications   (2 copies are to be provided)

A)	Drawings (To scale not less than 1:100 i.e. 1cm = 1m) showing-

- A Plan of every storey			(ii)	Elevations of external side and front	        		(iii)         External & Internal measurements

(iv)	Show Ground Level			(v)	Show finished floor level					(vi)  	 Depth of foundation (i.e. sand pad)

(vii)	Size of footing & indicate mesh sizes	(viii)	Construction of walls, floor and roofs.			(iix)	 Show window sizes

(ix)	Show all room sizes and names.  	(x)	Specifications describing materials being used and where not indicated in the drawings, the sizes thereof.

B)	A Site Plan (To a scale of not less than 1:500) showing-

(i)	Street Names, lot or location number and title reference to the site with the north point clearly marked.	(ii)	Size and shape of the lot or location

(iii)	The position of the proposed building and show any other existing buildings				(iv)	Clearances or distance from other buildings

(v)	The position of any main sewer lines or septic tanks & leach drains					(vi)	What is the fall of the site – direction also.

(vii)	Location & height of any retaining walls – Planning approval required if over 500mm height.

BUILDING APPLICATION CHECKLIST for a Class 10 building – Shed, Garage, Patio, Carport

All of the above  except:  No. 4, 5 & 9       Engineers Structural Certification required on all buildings over 100sqm in area  or greater than 3.0m in wall height.

Swimming pools, retaining walls over 500mm, fences and antennae dishes with a diameter greater than 3.0m all require a Building Permit Application.

BUILDING FORMS ARE AVAILABLE FROM   http://www.buildingcommission.wa.gov.au/forms-publications/forms/building-act      http://www.goomalling.wa.gov.au